|  |
| --- |
| **Name of Practice:**Enter address andcontact information here.**Name of Project:**Enter name here. **Location:**Enter address here.Date: Enter date here. |
|  2024 Ontario Building Code Data MatrixPart 2 – Farm Buildings | Building Code Reference1 |
| 2.00 | Building Code Version: |  O. Reg. 163/24  | Last Amendment |  O. Reg. 447/24  |  |
|  | Applicable Code | ☐  OBC 2024, Part 2 ☐  National Farm Building Code of Canada |  |
| 2.01 | Project Type: |  ☐  New Construction ☐  Addition ☐  Renovation ☐  Change of use ☐  Addition and renovation | [A] 1.1.1.1. |
|  |  | Description:  |  |
|  |  | ☐  Includes housing of livestock ☐  Includes liquid manure below-floor storage ☐  Structural design to SB-11 ☐  Includes hazardous extraction operation involving cannabis☐  Includes controlled atmosphere storage areas | 2.1.2.3.(5)2.1.2.3.(6)2.4.2.3. |
| 2.02 | Major Occupancy Classification: | Occupancy Use    | 2.1.2.2.2.1.4., T3.1.2.1.3.1.2.A-1.4.1.2.(1)  |
|  |  | ☐  All major occupancies are Group G☐  Refer to Part 3 matrix for other major occupancies☐  Aggregate area of all major occupancies by Group or Division is less than or equal to 10% | 2.2.1.1.(2), 2.2.1.3. |
| 2.03 | Superimposed Major Occupancies: | Reserved |  |  |  |
| 2.04 | Building Area (m2)*Insert additional lines as needed* | Description:    Total | Existing 0  0  0  0  0  | New 0  0  0  0  0  | Total 0  0  0  0  0  | 2.1.2.1.[A] 1.4.1.2. |
| 2.05 | Gross Area (m2)*Insert additional lines as needed* | Description:    Total | Existing 0  0  0  0  0  | New 0  0  0  0  0  | Total 0  0  0  0  0  | [A] 1.4.1.2. |
| 2.06 | Mezzanine Area (m2)*Insert additional lines as needed* | Description:    Total | Existing 0  0  0  0  0  | New 0  0  0  0  0  | Total 0  0  0  0  0  | 2.2.2.2., 3.2.1.1. |
| 2.07 | Building Height |  0  0  | Storeys above gradeStoreys below grade |  0  | (m) Above grade | [A] 1.4.1.2. & 2.1.2.1.2.2.2.2.. |
| 2.08 | High Building | Reserved |  |
| 2.09 | Number of Streets/ Firefighter access |  0 street(s) | 2.2.4.1. |
| 2.10 | Building Classification:(Size & Construction Relative to Occupancy) |  2.2.2.  | Group/Div  | 2.2.2.3.- 8. |
| 2.11 | Sprinkler System | ☐  Required ☐  Not RequiredProvided: ☐  entire building ☐  selected compartments ☐  selected floor areas ☐  basement ☐  noneDescription:  | 2.2.4.2., 2.2.3.6. |
| 2.12 | Standpipe System | Reserved |  |
| 2.13 | Fire Alarm System | ☐  Required ☐  Not requiredType Provided: ☐  Single stage ☐  Two stage ☐  None | 2.2.3.1.2.2.3.2 |
| 2.14 | Water Service / Supply is Adequate | Reserved |  |
| 2.15 | Construction Type: | Restriction: ☐  Combustible permitted ☐  Non-combustible required Actual: ☐  Combustible ☐  Non-combustible  ☐  Combination of combustible and non-combustible  | 2.2.2.3. - 8.  |
| 2.16 | Importance Category: | ☐  Low ☐  Low human occupancy ☐  Normal ☐  Liquid Manure storage tanks ☐  Minor storage building ☐  Explosive or hazardous substances | 2.3.1.1., 4.1.2.1.(3) & T4.1.2.1. |
| 2.17 | Seismic Category: | Seismic Category: \_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Site Class: \_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Seismic design for Table 4.1.8.18. items 6 to 22: [ ]  Required [ ]  Not RequiredReasons:  | 4.1.8.4.(1)T-4.1.8.5.-B4.1.8.18 |
| 2.18 | Occupant Load*Insert additional lines as needed* | Floor Level/Area     | Occupancy Type      | Based On     | Occupant Load (Persons) 0  0  0  0  | Posted Limit Required     | 2.1.2.2., 2.2.1.17. |
| 2.19 | Barrier-free Design: | Reserved |  |  |
| 2.20 | Hazardous Substances or Dangerous Goods: |  Yes No | Explanation  | 2.2.8. |
| 2.21 | Required Fire Resistance Ratings | Horizontal Assembly | Rating (H) | Supporting Assembly (H) | Noncombustiblein lieu of rating? | 2.2.2.3. – 8., |
|  |  | Floors over basementFloorsMezzanineRoof |  0  0  0  0  |  0  0  0  0  | ☐  No ☐  Yes ☐  N/A☐  No ☐  Yes ☐  N/A☐  No ☐  Yes ☐  N/A☐  No ☐  Yes ☐  N/A |  |
| 2.22a | Spatial Separation | Reserved |  |  |  |  |  |  |  |
| 2.22b | Spatial Separation Continued | Reserved |  |  |  |
| 2.23a | Plumbing Fixture Requirements” | Reserved |  |
| 2.23b | Plumbing Fixture Requirements continued: | Reserved |  |  |  |  |  |
| 2.24 | Energy Efficiency: | Reserved |  |  |
| 2.25 | Sound Transmission Design: | Reserved |  |  |
| 2.26 | Alternative Solutions*Insert additional lines as needed* |     | [A] 1.2.1.1., and[C] 2.1. |
| 2.27 | Notes: *Insert additional lines as needed* |     |  |

1. A*ll references are to Division B of the OBC, unless preceded by [A] for Division A and [C] for Division C.*
2. *Items indicated as “Reserved” are to maintain consistency of numbering with the Part 3 matrix.*

For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 2.01 through 2.17 of this form to the SPA submission.